## Sheet1
QC: At least 2 controls samples have been run.
Method | HA_ACID-EXTENDED |  | Comment: Amount reported between LOD (Limit of Detection) & LOQ (Limit of Quantification) are not reliably quantified.
Instrument | Dionex 3
Analysis date | 2019-07-02 |  | Information instructions
Analyst (initials) | dkCABI |  | - fill out all required information on the red cells
Reviewer (initials) | DKANSE |  | - cells in blue are locked
Customer ELN Number | EXP-19-AL0828 |  | - initials DKXXXX
Job Number | 190516-004 |  | - if re-test then choose TRUE on the drop-down menu
Customer 1 (initials) | dkKSR |  | - comments can be related to sample, compound or analytical series
Customer 2 (initials) | dkMPJ |  | - rename tab as OUTPUT with final resulst
Site | HOE
Re-test | 0
Dilution | x1000
[5 empty] | 0.51386 | 0.0533 | 0.062556
[5 empty] | 48.04 | 76.8496 | 72.064 | 53.635 | 59.2628 | 70.488 | 94.472 | 60.0348
[5 empty] | 0.2402 | 0.38425 | 0.36032 | 0.13409 | 0.074079 | 0.17622 | 0.23618 | 0.75043
[5 empty] | 0.30025 | 3.8425 | 0.4504 | 0.26817 | 0.14816 | 0.44055 | 0.59045 | 1.0506
Information for Biochemical Analysis |  |  |  | Customer design | mg/mL | mg/mL | mg/mL | mg/mL | mg/mL | mg/mL | mg/mL | mg/mL
File | Sample ID | Sample number | Comments | Unique Sample ID | Acetic acid | Citric acid | Lactic acid | Malic acid | Propionic acid | Butyric acid | Succinic acid | Tartaric acid
20190702_190516-004A | 190516-004-001 | 1 |  | 1-A | <LOD | 1.8944 | 4.3237 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-002 | 2 |  | 1-B | <LOD | 1.9096 | 4.5382 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-003 | 3 |  | 1-C | <LOD | 1.8802 | 4.3014 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-004 | 4 |  | 2-A | <LOD | 1.7349 | 3.1727 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-005 | 5 |  | 2-B | <LOD | 1.7749 | 3.3112 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-006 | 6 |  | 2-C | <LOD | 1.7432 | 3.3711 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-007 | 7 |  | 3-A | <LOD | 1.8828 | 4.3618 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-008 | 8 |  | 3-B | <LOD | 1.8698 | 4.2383 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-009 | 9 |  | 3-C | <LOD | 1.8891 | 4.2494 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-010 | 10 |  | 4-A | <LOD | 1.8956 | 4.535 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-011 | 11 |  | 4-B | <LOD | 1.9291 | 4.501 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-012 | 12 |  | 4-C | <LOD | 1.8853 | 4.5533 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-013 | 13 |  | 5-A | <LOD | 1.7236 | 3.4454 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-014 | 14 |  | 5-B | <LOD | 1.7614 | 3.5838 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-015 | 15 |  | 5-C | <LOD | 1.7389 | 3.5882 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-016 | 16 |  | 6-A | <LOD | 1.747 | 3.6844 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-017 | 17 |  | 6-B | <LOD | 1.7222 | 3.5203 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-018 | 18 |  | 6-C | <LOD | 1.7822 | 3.8382 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-019 | 19 |  | Milk 13-05-2019 | <LOD | 1.7689 | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-020 | 20 |  | Milk 21-05-2019 | <LOD | 1.7066 | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD

## Sheet2
Information for Biochemical Analysis |  |  |  | Customer design | mg/mL | mg/mL | mg/mL | mg/mL | mg/mL | mg/mL | mg/mL | mg/mL
File | Sample ID | Sample number | Comments | Unique Sample ID | Acetic acid | Citric acid | Lactic acid | Malic acid | Propionic acid | Butyric acid | Succinic acid | Tartaric acid
20190702_190516-004A | 190516-004-001 | 1 |  | 1-A | <LOD | 1.8944 | 4.3237 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-002 | 2 |  | 1-B | <LOD | 1.9096 | 4.5382 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-003 | 3 |  | 1-C | <LOD | 1.8802 | 4.3014 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-004 | 4 |  | 2-A | <LOD | 1.7349 | 3.1727 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-005 | 5 |  | 2-B | <LOD | 1.7749 | 3.3112 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-006 | 6 |  | 2-C | <LOD | 1.7432 | 3.3711 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-007 | 7 |  | 3-A | <LOD | 1.8828 | 4.3618 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-008 | 8 |  | 3-B | <LOD | 1.8698 | 4.2383 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-009 | 9 |  | 3-C | <LOD | 1.8891 | 4.2494 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-010 | 10 |  | 4-A | <LOD | 1.8956 | 4.535 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-011 | 11 |  | 4-B | <LOD | 1.9291 | 4.501 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-012 | 12 |  | 4-C | <LOD | 1.8853 | 4.5533 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-013 | 13 |  | 5-A | <LOD | 1.7236 | 3.4454 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-014 | 14 |  | 5-B | <LOD | 1.7614 | 3.5838 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-015 | 15 |  | 5-C | <LOD | 1.7389 | 3.5882 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-016 | 16 |  | 6-A | <LOD | 1.747 | 3.6844 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-017 | 17 |  | 6-B | <LOD | 1.7222 | 3.5203 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-018 | 18 |  | 6-C | <LOD | 1.7822 | 3.8382 | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-019 | 19 |  | Milk 13-05-2019 | <LOD | 1.7689 | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD
20190702_190516-004A | 190516-004-020 | 20 |  | Milk 21-05-2019 | <LOD | 1.7066 | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD