## Sheet1
QC: At least 2 controls samples have been run.
Method | HA-CARB-BASIC |  | Comment: Amount reported between LOD (Limit of Detection) & LOQ (Limit of Quantification) are not reliably quantified.
Instrument | Dionex 3
Analysis date | 2019-07-02 |  | Information instructions
Analyst (initials) | dkCABI |  | - fill out all required information on the red cells
Reviewer (initials) | DKANSE |  | - cells in blue are locked
Customer ELN Number | EXP-19-AL0828 |  | - initials DKXXXX
Job Number | 190520-001 |  | - if re-test then choose TRUE on the drop-down menu
Customer 1 (initials) | dkKSR |  | - comments can be related to sample, compound or analytical series
Customer 2 (initials) | dkMPJ |  | - rename tab as OUTPUT with final resulst
Site | HOE
Re-test | 0
Dilution | x1000
[5 empty] | 0.24595 | 0.47274 | 0.081946 | 0.088254
[5 empty] | 36.032 | 18.016 | 36.032 | 68.46 | 13.692
[5 empty] | 0.18016 | 0.36032 | 0.18016 | 0.3423 | 0.3423
[5 empty] | 0.36032 | 0.72064 | 0.36032 | 0.6846 | 0.6846
Information for Biochemical Analysis |  |  |  | Customer design | mg/mL | mg/mL | mg/mL | mg/mL | mg/mL
File | Sample ID | Sample number | Comments | Unique Sample ID | Fructose | Galactose | Glucose | Lactose | Trehalose
20190702_190520-001C | 190520-001-001 | 1 |  | 1-A | <LOD | 1.6212 | <LOD | 38.731 | <LOD
20190702_190520-001C | 190520-001-002 | 2 |  | 1-B | <LOD | 1.6452 | <LOD | 38.596 | <LOD
20190702_190520-001C | 190520-001-003 | 3 |  | 1-C | <LOD | 1.6238 | <LOD | 38.3815 | <LOD
20190702_190520-001C | 190520-001-004 | 4 |  | 2-A | <LOD | <LOD | <LOD | 37.5911 | <LOD
20190702_190520-001C | 190520-001-005 | 5 |  | 2-B | <LOD | <LOD | <LOD | 37.973 | <LOD
20190702_190520-001C | 190520-001-006 | 6 |  | 2-C | <LOD | <LOD | <LOD | 37.4717 | <LOD
20190702_190520-001C | 190520-001-007 | 7 |  | 3-A | <LOD | 2.3842 | <LOD | 38.1354 | <LOD
20190702_190520-001C | 190520-001-008 | 8 |  | 3-B | <LOD | 2.2528 | <LOD | 38.281 | <LOD
20190702_190520-001C | 190520-001-009 | 9 |  | 3-C | <LOD | 2.2917 | <LOD | 38.4089 | <LOD
20190702_190520-001C | 190520-001-010 | 10 |  | 4-A | <LOD | 1.9128 | <LOD | 38.5333 | <LOD
20190702_190520-001C | 190520-001-011 | 11 |  | 4-B | <LOD | 1.8225 | <LOD | 38.9676 | <LOD
20190702_190520-001C | 190520-001-012 | 12 |  | 4-C | <LOD | 2.0059 | <LOD | 38.1738 | <LOD
20190702_190520-001C | 190520-001-013 | 13 |  | 5-A | <LOD | 1.4428 | <LOD | 37.2607 | <LOD
20190702_190520-001C | 190520-001-014 | 14 |  | 5-B | <LOD | 1.4985 | <LOD | 37.5638 | <LOD
20190702_190520-001C | 190520-001-015 | 15 |  | 5-C | <LOD | 1.4872 | <LOD | 37.4401 | <LOD
20190702_190520-001C | 190520-001-016 | 16 |  | 6-A | <LOD | 1.2142 | <LOD | 37.7097 | <LOD
20190702_190520-001C | 190520-001-017 | 17 |  | 6-B | <LOD | 1.2231 | <LOD | 36.2861 | <LOD
20190702_190520-001C | 190520-001-018 | 18 |  | 6-C | <LOD | 1.2602 | <LOD | 37.0682 | <LOD
20190702_190520-001C | 190520-001-019 | 19 |  | Milk 13-05-2019 | <LOD | <LOD | <LOD | 40.2273 | <LOD
20190702_190520-001C | 190520-001-020 | 20 |  | Milk 21-05-2019 | <LOD | <LOD | <LOD | 39.8698 | <LOD

## Sheet2
File | Sample ID | Sample number | Comments | Unique Sample ID | Fructose | Galactose | Glucose | Lactose | Trehalose
20190702_190520-001C | 190520-001-001 | 1 |  | 1-A | <LOD | 1.6212 | <LOD | 38.731 | <LOD
20190702_190520-001C | 190520-001-002 | 2 |  | 1-B | <LOD | 1.6452 | <LOD | 38.596 | <LOD
20190702_190520-001C | 190520-001-003 | 3 |  | 1-C | <LOD | 1.6238 | <LOD | 38.3815 | <LOD
20190702_190520-001C | 190520-001-004 | 4 |  | 2-A | <LOD | <LOD | <LOD | 37.5911 | <LOD
20190702_190520-001C | 190520-001-005 | 5 |  | 2-B | <LOD | <LOD | <LOD | 37.973 | <LOD
20190702_190520-001C | 190520-001-006 | 6 |  | 2-C | <LOD | <LOD | <LOD | 37.4717 | <LOD
20190702_190520-001C | 190520-001-007 | 7 |  | 3-A | <LOD | 2.3842 | <LOD | 38.1354 | <LOD
20190702_190520-001C | 190520-001-008 | 8 |  | 3-B | <LOD | 2.2528 | <LOD | 38.281 | <LOD
20190702_190520-001C | 190520-001-009 | 9 |  | 3-C | <LOD | 2.2917 | <LOD | 38.4089 | <LOD
20190702_190520-001C | 190520-001-010 | 10 |  | 4-A | <LOD | 1.9128 | <LOD | 38.5333 | <LOD
20190702_190520-001C | 190520-001-011 | 11 |  | 4-B | <LOD | 1.8225 | <LOD | 38.9676 | <LOD
20190702_190520-001C | 190520-001-012 | 12 |  | 4-C | <LOD | 2.0059 | <LOD | 38.1738 | <LOD
20190702_190520-001C | 190520-001-013 | 13 |  | 5-A | <LOD | 1.4428 | <LOD | 37.2607 | <LOD
20190702_190520-001C | 190520-001-014 | 14 |  | 5-B | <LOD | 1.4985 | <LOD | 37.5638 | <LOD
20190702_190520-001C | 190520-001-015 | 15 |  | 5-C | <LOD | 1.4872 | <LOD | 37.4401 | <LOD
20190702_190520-001C | 190520-001-016 | 16 |  | 6-A | <LOD | 1.2142 | <LOD | 37.7097 | <LOD
20190702_190520-001C | 190520-001-017 | 17 |  | 6-B | <LOD | 1.2231 | <LOD | 36.2861 | <LOD
20190702_190520-001C | 190520-001-018 | 18 |  | 6-C | <LOD | 1.2602 | <LOD | 37.0682 | <LOD
20190702_190520-001C | 190520-001-019 | 19 |  | Milk 13-05-2019 | <LOD | <LOD | <LOD | 40.2273 | <LOD
20190702_190520-001C | 190520-001-020 | 20 |  | Milk 21-05-2019 | <LOD | <LOD | <LOD | 39.8698 | <LOD