## Sheet1
At least 2 controls samples have been run. The precisions of compounds in this analytical series are included in table below (RSD of Controls (%))
Method | HA-VOC-MS1 |  | Method validation and description: EXP-14-AD7582
Instrument | GC-02 |  | Blanks cells represent no detected signal
Analysis date | 2019-06-03 |  | Result marked in yellow is between LOD (Limit Of Detection) & LOQ (Limit of Quantification) and the result is not realiable estimated
Analyst (initials) | dkAGE |  | Result marked in red is below LOD (Limit Of Detection) and the result is very uncertain
Reviewer (initials) | dkRIAL |  | Overload represents detector saturation
Customer ELN Number | EXP-19-AL0828 |  | NA represents "Not analysed"
Job Number | 190524-006
Customer 1 (initials) | dkKSR
Customer 2 (initials) | dkMPJ |  | Information instructions
Site | HOE |  | - fill out all required information on the red cells
Re-test | 0 |  | - cells in blue are locked
- analysis date is yyyy-mm-dd
|  |  | - initials DKXXXX | [5 empty] | Compound Group | Alcohol | Ketone | Sulfur | Sulfur | Aldehyde | Ketone | Ketone | Ester | Aldehyde | Aldehyde | Ketone | Ketone | Aromatic | None | Ester | Sulfur | Benzene | Aldehyde | Ketone | Benzene | Aldehyde | Sulfur | Aldehyde | Ester | Sulfur | Aldehyde |  | Ketone | Aldehyde | Lactone
|  |  | - if re-test then choose TRUE on the drop-down menu | [5 empty] | Compound code | al1 | k1 | s3 | s12 | ad27/ar58 | k11 | k2 | e1 | ad11 | ad10 | k3 | k36 | ar63 | k16 | e31 | s4 | ar49 | ad3 | k5 | ar33 | ad4 | s7 | ar2 | e3 | s9 | ad19 |  | k7 | ad5 | l9
|  |  | - comments can be related to sample, compound or analytical series | [5 empty] | RSD of controls (%) | 12.88% | 9.323% | 9.106% | 8.008% | 14.74% | 15.81% | 6.412% | 14.72% | 19.27% | 18.4% | 4.373% | 7.362% | 5.299% | 29.66% | 61.76% | 23.54% | 8.494% | 27.69% | 8.778% | 29.53% | 65.11% | 62.07% | 54.95% | 20.9% | 27.41% | 68.15% | 21.05% | 24.07% | 46.15% | 41.25% | 0 | 0 | 0 | 0 | 0
|  |  | - rename tab as OUTPUT with final resulst | [5 empty] | ULOQ | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | N.A. | 3 | 3 | 3 | 3 | 3
[9 empty] | LOD | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 10 | 10 | 10 | 10 | 10
[9 empty] | LOQ | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | S/N | S/N | S/N | S/N | S/N
Information for Biochemical Analysis |  |  |  |  | Customer design |  |  |  | Unit | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N | S/N
Injection number | File | Sample ID | Sample number | Comments | Sample ID | Sample number | Unique Sample ID | Date | Compound | Ethanol | Acetone | Dimethyl sulfide | Carbon disulfide | 2-Butenal / 2.3-dihydro-Furan | Diacetyl | 2-Butanone | Ethyl acetate | 3-Methyl butanal | 2-Methyl butanal | 2-Pentanone | 2,3-Pentanedione | 2-Ethyl-Furan | Acetoin | Propyl acetate | Dimethyl disulfide | Toluene | Hexanal | 2-Heptanone | Styrene**saturated | Heptanal | Dimethyl sulfone | Benzaldehyde | Ethyl hexanoate | 2-Methyl-3-thiolanone | Octanal | 3-Carene | 2-Nonanone | Nonanal | d-Decalactone
13 | 113-20190603-190524-006-001.D | 190524-006-001 | 001 |  | 190524-006-001 | 1 | 1-A | 13-05-2019 |  | 636 | 154 | 24 | 21 | 93 | 1572 | 111 | 4539 | 4 | 4 | 39 | 562 | 23 | 2494 | 6 | 79 | 771 | 165 | 88 | 19 | 4 | 104 | 925 | 1108 | 134 | 7 | 215 | 73 | 3 | 7
14 | 114-20190603-190524-006-002.D | 190524-006-002 | 002 |  | 190524-006-002 | 2 | 1-B | 13-05-2019 |  | 728 | 138 | 24 | 21 | 116 | 1658 | 99 | 4953 | 3 | 3 | 36 | 373 | 12 | 2502 | 7 | 62 | 798 | 38 | 91 | 18 | 3 | 250 | 943 | 1503 | 139 | 5 | 208 | 79 | 2 | 10
22 | 122-20190603-190524-006-003.D | 190524-006-003 | 003 |  | 190524-006-003 | 3 | 2-A | 13-05-2019 |  | 835 | 127 | 26 | 21 | 96 | 609 | 88 | 6046 | 5 | 3 | 29 | 10 | 22 | 1321 | 3 | 59 | 954 | 201 | 72 | 15 | 6 | 177 | 1301 | 1902 | 305 | 8 | 122 | 55 | 2 | 10
29 | 129-20190603-190524-006-004.D | 190524-006-004 | 004 |  | 190524-006-004 | 4 | 2-B | 13-05-2019 |  | 833 | 129 | 29 | 21 | 80 | 914 | 88 | 5385 | 5 | 3 | 29 | 12 | 23 | 1955 | 4 | 63 | 1001 | 198 | 61 | 15 | 5 | 967 | 1336 | 1411 | 222 | 5 | 163 | 44 | 3 | 8
7 | 107-20190603-190524-006-005.D | 190524-006-005 | 005 |  | 190524-006-005 | 5 | 2-C | 13-05-2019 |  | 609 | 156 | 32 | 24 | 101 | 574 | 111 | 6852 | 3 | 2 | 36 |  | 26 | 1372 | 5 | 51 | 933 | 245 | 74 | 18 | 7 | 185 | 686 | 1310 | 201 | 8 | 196 | 55 | 2 | 7
18 | 118-20190603-190524-006-006.D | 190524-006-006 | 006 |  | 190524-006-006 | 6 | 3-A | 13-05-2019 |  | 1037 | 134 | 14 | 17 | 95 | 5704 | 100 | 62 | 2 | 2 | 9 | 2259 | 43 | 5247 | 8 | 54 | 897 | 2028 | 56 | 17 | 75 | 216 | 985 | 173 | 18 | 22 | 120 | 61 | 5 | 4
26 | 126-20190603-190524-006-007.D | 190524-006-007 | 007 |  | 190524-006-007 | 7 | 3-B | 13-05-2019 |  | 1005 | 161 | 15 | 19 | 94 | 6781 | 115 | 49 | 4 | 2 | 9 | 2155 | 48 | 5156 | 8 | 67 | 847 | 1903 | 58 | 16 | 70 | 152 | 786 | 103 | 15 | 20 | 113 | 52 | 5 | 3
17 | 117-20190603-190524-006-008.D | 190524-006-008 | 008 |  | 190524-006-008 | 8 | 3-C | 13-05-2019 |  | 753 | 151 | 15 | 17 | 93 | 5861 | 100 | 52 | 3 | 2 | 11 | 2359 | 47 | 6123 | 9 | 66 | 956 | 2122 | 56 | 1 | 76 | 319 | 908 | 109 | 18 | 21 | 121 | 58 | 5 | 4
16 | 116-20190603-190524-006-009.D | 190524-006-009 | 009 |  | 190524-006-009 | 9 | 4-A | 13-05-2019 |  | 551 | 152 | 28 | 22 | 118 | 2115 | 104 | 3953 | 4 | 2 | 38 | 544 | 12 | 2559 | 6 | 67 | 906 | 71 | 85 | 16 | 3 | 274 | 890 | 885 | 107 | 5 | 264 | 70 | 2 | 9
20 | 120-20190603-190524-006-010.D | 190524-006-010 | 010 |  | 190524-006-010 | 10 | 4-B | 13-05-2019 |  | 691 | 126 | 21 | 21 | 125 | 1790 | 93 | 4723 | 5 | 3 | 34 | 432 | 10 | 2762 | 6 | 55 | 852 | 9 | 85 | 15 | 3 | 361 | 907 | 1469 | 129 | 4 | 193 | 68 | 2 | 11
30 | 130-20190603-190524-006-011.D | 190524-006-011 | 011 |  | 190524-006-011 | 11 | 4-C | 13-05-2019 |  | 846 | 124 | 21 | 20 | 94 | 1793 | 89 | 4212 | 4 | 3 | 38 | 646 | 14 | 2594 | 6 | 64 | 747 | 80 | 105 | 15 | 3 | 164 | 1377 | 1814 | 129 | 4 | 159 | 102 | 2 | 8
27 | 127-20190603-190524-006-012.D | 190524-006-012 | 012 |  | 190524-006-012 | 12 | 5-A | 21-05-2019 |  | 1132 | 214 | 30 | 23 | 104 | 1563 | 224 | 3282 | 4 | 3 | 276 | 236 | 11 | 2676 | 5 | 106 | 822 | 8 | 82 | 10 | 3 | 113 | 1114 | 1024 | 119 | 1 | 134 | 56 | 1 | 5
28 | 128-20190603-190524-006-013.D | 190524-006-013 | 013 |  | 190524-006-013 | 13 | 5-B | 21-05-2019 |  | 850 | 209 | 31 | 26 | 114 | 1575 | 217 | 2545 | 5 | 4 | 270 | 226 | 12 | 2508 | 6 | 111 | 856 | 7 | 83 | 13 | 2 | 229 | 1212 | 839 | 129 | 1 | 179 | 57 | 2 | 8
15 | 115-20190603-190524-006-014.D | 190524-006-014 | 014 |  | 190524-006-014 | 14 | 5-C | 21-05-2019 |  | 664 | 221 | 34 | 25 | 152 | 1493 | 239 | 2128 | 5 | 3 | 294 | 285 | 13 | 2440 | 6 | 114 | 824 | 6 | 88 | 14 | 2 | 208 | 1208 | 634 | 126 | 3 | 133 | 65 | 2 | 9
19 | 119-20190603-190524-006-015.D | 190524-006-015 | 015 |  | 190524-006-015 | 15 | 6-A | 21-05-2019 |  | 602 | 230 | 30 | 22 | 115 | 1675 | 252 | 1989 | 4 | 3 | 334 | 260 | 11 | 2840 | 5 | 114 | 848 | 56 | 102 | 13 | 3 | 142 | 1138 | 624 | 140 | 1 | 175 | 82 | 2 | 7
32 | 132-20190603-190524-006-016.D | 190524-006-016 | 016 |  | 190524-006-016 | 16 | 6-B | 21-05-2019 |  | 732 | 204 | 32 | 19 | 144 | 1345 | 260 | 1275 | 7 | 7 | 284 | 272 | 10 | 1932 | 4 | 98 | 760 | 27 | 88 | 13 | 2 | 421 | 1437 | 709 | 119 | 4 | 238 | 62 | 2 | 14
6 | 106-20190603-190524-006-017.D | 190524-006-017 | 017 |  | 190524-006-017 | 17 | 6-C | 21-05-2019 |  | 767 | 221 | 39 | 28 | 97 | 1724 | 282 | 4284 | 3 | 5 | 336 | 322 | 11 | 3101 | 7 | 99 | 1050 | 11 | 104 | 15 | 2 | 97 | 426 | 1087 | 129 | 5 | 283 | 80 | 2 | 6
31 | 131-20190603-190524-006-018.D | 190524-006-018 | 018 |  | 190524-006-018 | 18 | milk | 13-05-2019 |  | 43 | 222 | 15 | 20 | 76 | 32 | 162 | 18 |  | 2 | 36 | 6 | 20 | 30 | 1 | 40 | 868 | 74 | 25 | 13 | 3 | 370 | 109 | 61 | 1 | 1 | 370 | 22 | 4 | 7
24 | 124-20190603-190524-006-019.D | 190524-006-019 | 019 |  | 190524-006-019 | 19 | milk | 21-05-2019 |  | 635 | 243 | 34 | 24 | 117 | 27 | 289 | 455 | 2 | 2 | 317 | 6 | 19 | 28 | 1 | 47 | 769 | 53 | 33 | 9 | 2 | 387 | 94 | 453 | 1 | 3 | 153 | 15 | 2 | 16
21 | 121-20190603-190524-006-020.D | 190524-006-020 | 020 |  | 190524-006-020 | 20 | empty | 13-05-2019 |  | 149 | 32 |  | 15 | 112 | 43 | 19 | 20 | 2 | 2 | 62 | 6 | 1 | 34 |  | 1 | 117 | 16 | 4 | 1 | 1 | 1 | 115 | 16 | 1 | 1 | 84 | 6 | 2 | 0
25 | 125-20190603-190524-006-021.D | 190524-006-021 | 021 |  | 190524-006-021 | 21 | empty | 21-05-2019 |  | 53 | 33 |  | 16 | 67 | 8 | 3 | 6 | 1 | 1 | 1 |  | 0 | 27 |  | 1 | 422 | 1 | 1 | 7 | 1 | 1 | 48 | 4 |  | 1 | 197 | 2 | 2 | 0
23 | 123-20190603-190524-006-022.D | 190524-006-022 | 022 |  | 190524-006-022 | 22 | empty | 21-05-2019 |  | 49 | 26 |  | 15 | 60 | 13 | 4 | 10 | 1 | 1 | 1 |  |  | 28 | 1 | 1 | 437 | 1 | 1 | 6 | 1 |  | 53 | 7 | 2 | 1 | 158 | 2 | 2 | 0

## Sheet2
Injection number | File | Sample ID | Sample number | Sample ID | Sample number | Unique Sample ID | Date | Ethanol | Acetone | Dimethyl sulfide | Carbon disulfide | 2-Butenal / 2.3-dihydro-Furan | Diacetyl | 2-Butanone | Ethyl acetate | 3-Methyl butanal | 2-Methyl butanal | 2-Pentanone | 2,3-Pentanedione | 2-Ethyl-Furan | Acetoin | Propyl acetate | Dimethyl disulfide | Toluene | Hexanal | 2-Heptanone | Styrene**saturated | Heptanal | Dimethyl sulfone | Benzaldehyde | Ethyl hexanoate | 2-Methyl-3-thiolanone | Octanal | 3-Carene | 2-Nonanone | Nonanal | d-Decalactone
13 | 113-20190603-190524-006-001.D | 190524-006-001 | 001 | 190524-006-001 | 1 | 1-A | 13-05-2019 | 636 | 154 | 24 | 21 | 93 | 1572 | 111 | 4539 | 4 | 4 | 39 | 562 | 23 | 2494 | 6 | 79 | 771 | 165 | 88 | 19 | 4 | 104 | 925 | 1108 | 134 | 7 | 215 | 73 | 3 | 7
14 | 114-20190603-190524-006-002.D | 190524-006-002 | 002 | 190524-006-002 | 2 | 1-B | 13-05-2019 | 728 | 138 | 24 | 21 | 116 | 1658 | 99 | 4953 | 3 | 3 | 36 | 373 | 12 | 2502 | 7 | 62 | 798 | 38 | 91 | 18 | 3 | 250 | 943 | 1503 | 139 | 5 | 208 | 79 | 2 | 10
22 | 122-20190603-190524-006-003.D | 190524-006-003 | 003 | 190524-006-003 | 3 | 2-A | 13-05-2019 | 835 | 127 | 26 | 21 | 96 | 609 | 88 | 6046 | 5 | 3 | 29 | 10 | 22 | 1321 | 3 | 59 | 954 | 201 | 72 | 15 | 6 | 177 | 1301 | 1902 | 305 | 8 | 122 | 55 | 2 | 10
29 | 129-20190603-190524-006-004.D | 190524-006-004 | 004 | 190524-006-004 | 4 | 2-B | 13-05-2019 | 833 | 129 | 29 | 21 | 80 | 914 | 88 | 5385 | 5 | 3 | 29 | 12 | 23 | 1955 | 4 | 63 | 1001 | 198 | 61 | 15 | 5 | 967 | 1336 | 1411 | 222 | 5 | 163 | 44 | 3 | 8
7 | 107-20190603-190524-006-005.D | 190524-006-005 | 005 | 190524-006-005 | 5 | 2-C | 13-05-2019 | 609 | 156 | 32 | 24 | 101 | 574 | 111 | 6852 | 3 | 2 | 36 |  | 26 | 1372 | 5 | 51 | 933 | 245 | 74 | 18 | 7 | 185 | 686 | 1310 | 201 | 8 | 196 | 55 | 2 | 7
18 | 118-20190603-190524-006-006.D | 190524-006-006 | 006 | 190524-006-006 | 6 | 3-A | 13-05-2019 | 1037 | 134 | 14 | 17 | 95 | 5704 | 100 | 62 | 2 | 2 | 9 | 2259 | 43 | 5247 | 8 | 54 | 897 | 2028 | 56 | 17 | 75 | 216 | 985 | 173 | 18 | 22 | 120 | 61 | 5 | 4
26 | 126-20190603-190524-006-007.D | 190524-006-007 | 007 | 190524-006-007 | 7 | 3-B | 13-05-2019 | 1005 | 161 | 15 | 19 | 94 | 6781 | 115 | 49 | 4 | 2 | 9 | 2155 | 48 | 5156 | 8 | 67 | 847 | 1903 | 58 | 16 | 70 | 152 | 786 | 103 | 15 | 20 | 113 | 52 | 5 | 3
17 | 117-20190603-190524-006-008.D | 190524-006-008 | 008 | 190524-006-008 | 8 | 3-C | 13-05-2019 | 753 | 151 | 15 | 17 | 93 | 5861 | 100 | 52 | 3 | 2 | 11 | 2359 | 47 | 6123 | 9 | 66 | 956 | 2122 | 56 | 1 | 76 | 319 | 908 | 109 | 18 | 21 | 121 | 58 | 5 | 4
16 | 116-20190603-190524-006-009.D | 190524-006-009 | 009 | 190524-006-009 | 9 | 4-A | 13-05-2019 | 551 | 152 | 28 | 22 | 118 | 2115 | 104 | 3953 | 4 | 2 | 38 | 544 | 12 | 2559 | 6 | 67 | 906 | 71 | 85 | 16 | 3 | 274 | 890 | 885 | 107 | 5 | 264 | 70 | 2 | 9
20 | 120-20190603-190524-006-010.D | 190524-006-010 | 010 | 190524-006-010 | 10 | 4-B | 13-05-2019 | 691 | 126 | 21 | 21 | 125 | 1790 | 93 | 4723 | 5 | 3 | 34 | 432 | 10 | 2762 | 6 | 55 | 852 | 9 | 85 | 15 | 3 | 361 | 907 | 1469 | 129 | 4 | 193 | 68 | 2 | 11
30 | 130-20190603-190524-006-011.D | 190524-006-011 | 011 | 190524-006-011 | 11 | 4-C | 13-05-2019 | 846 | 124 | 21 | 20 | 94 | 1793 | 89 | 4212 | 4 | 3 | 38 | 646 | 14 | 2594 | 6 | 64 | 747 | 80 | 105 | 15 | 3 | 164 | 1377 | 1814 | 129 | 4 | 159 | 102 | 2 | 8
27 | 127-20190603-190524-006-012.D | 190524-006-012 | 012 | 190524-006-012 | 12 | 5-A | 21-05-2019 | 1132 | 214 | 30 | 23 | 104 | 1563 | 224 | 3282 | 4 | 3 | 276 | 236 | 11 | 2676 | 5 | 106 | 822 | 8 | 82 | 10 | 3 | 113 | 1114 | 1024 | 119 | 1 | 134 | 56 | 1 | 5
28 | 128-20190603-190524-006-013.D | 190524-006-013 | 013 | 190524-006-013 | 13 | 5-B | 21-05-2019 | 850 | 209 | 31 | 26 | 114 | 1575 | 217 | 2545 | 5 | 4 | 270 | 226 | 12 | 2508 | 6 | 111 | 856 | 7 | 83 | 13 | 2 | 229 | 1212 | 839 | 129 | 1 | 179 | 57 | 2 | 8
15 | 115-20190603-190524-006-014.D | 190524-006-014 | 014 | 190524-006-014 | 14 | 5-C | 21-05-2019 | 664 | 221 | 34 | 25 | 152 | 1493 | 239 | 2128 | 5 | 3 | 294 | 285 | 13 | 2440 | 6 | 114 | 824 | 6 | 88 | 14 | 2 | 208 | 1208 | 634 | 126 | 3 | 133 | 65 | 2 | 9
19 | 119-20190603-190524-006-015.D | 190524-006-015 | 015 | 190524-006-015 | 15 | 6-A | 21-05-2019 | 602 | 230 | 30 | 22 | 115 | 1675 | 252 | 1989 | 4 | 3 | 334 | 260 | 11 | 2840 | 5 | 114 | 848 | 56 | 102 | 13 | 3 | 142 | 1138 | 624 | 140 | 1 | 175 | 82 | 2 | 7
32 | 132-20190603-190524-006-016.D | 190524-006-016 | 016 | 190524-006-016 | 16 | 6-B | 21-05-2019 | 732 | 204 | 32 | 19 | 144 | 1345 | 260 | 1275 | 7 | 7 | 284 | 272 | 10 | 1932 | 4 | 98 | 760 | 27 | 88 | 13 | 2 | 421 | 1437 | 709 | 119 | 4 | 238 | 62 | 2 | 14
6 | 106-20190603-190524-006-017.D | 190524-006-017 | 017 | 190524-006-017 | 17 | 6-C | 21-05-2019 | 767 | 221 | 39 | 28 | 97 | 1724 | 282 | 4284 | 3 | 5 | 336 | 322 | 11 | 3101 | 7 | 99 | 1050 | 11 | 104 | 15 | 2 | 97 | 426 | 1087 | 129 | 5 | 283 | 80 | 2 | 6
31 | 131-20190603-190524-006-018.D | 190524-006-018 | 018 | 190524-006-018 | 18 | milk | 13-05-2019 | 43 | 222 | 15 | 20 | 76 | 32 | 162 | 18 |  | 2 | 36 | 6 | 20 | 30 | 1 | 40 | 868 | 74 | 25 | 13 | 3 | 370 | 109 | 61 | 1 | 1 | 370 | 22 | 4 | 7
24 | 124-20190603-190524-006-019.D | 190524-006-019 | 019 | 190524-006-019 | 19 | milk | 21-05-2019 | 635 | 243 | 34 | 24 | 117 | 27 | 289 | 455 | 2 | 2 | 317 | 6 | 19 | 28 | 1 | 47 | 769 | 53 | 33 | 9 | 2 | 387 | 94 | 453 | 1 | 3 | 153 | 15 | 2 | 16
21 | 121-20190603-190524-006-020.D | 190524-006-020 | 020 | 190524-006-020 | 20 | empty | 13-05-2019 | 149 | 32 |  | 15 | 112 | 43 | 19 | 20 | 2 | 2 | 62 | 6 | 1 | 34 |  | 1 | 117 | 16 | 4 | 1 | 1 | 1 | 115 | 16 | 1 | 1 | 84 | 6 | 2 | 0
25 | 125-20190603-190524-006-021.D | 190524-006-021 | 021 | 190524-006-021 | 21 | empty | 21-05-2019 | 53 | 33 |  | 16 | 67 | 8 | 3 | 6 | 1 | 1 | 1 |  | 0 | 27 |  | 1 | 422 | 1 | 1 | 7 | 1 | 1 | 48 | 4 |  | 1 | 197 | 2 | 2 | 0
23 | 123-20190603-190524-006-022.D | 190524-006-022 | 022 | 190524-006-022 | 22 | empty | 21-05-2019 | 49 | 26 |  | 15 | 60 | 13 | 4 | 10 | 1 | 1 | 1 |  |  | 28 | 1 | 1 | 437 | 1 | 1 | 6 | 1 |  | 53 | 7 | 2 | 1 | 158 | 2 | 2 | 0